Helipad Elevated Flood Light – HP Fl-60

Data Sheet

Rev: 1.0V

Helipad LED Flood Light

HP Fl-60 - The helipad flood light is a steady burning white LED light which is suitably installed on a flat surface. Floodlights are used to illuminate the surface of helipads, ensuring the surface is well lit for the pilot.

Typical Applications

- Surface level helipad

- Elevated helipad

- Shipboard helipad

Key Features

- Reflective lens consists of a toughened glass material made with excellent impact resistance, thermal stability and great transparency.

- Casing of the light unit is of casting aluminum alloy and painted by spraying plastics capable for use outdoors.

- Equipped with a condenser lens which allows a more previse beam distribution.

- Lens hood in front of the lamp reduces the possibility of dazzle.

- Light technology available in LED technology or metal halide lamp technology.

- Built in surge protection device, can be used in harsh environment.

Technical Parameters

| Light Characteristics |  |  |  |
| --- | --- | --- | --- |
| International standard | ICAO Annex 14 volume II; Heliports | Effective intensity | >8,000lm/metal halide >1,500lm/LED model |
| Light technology | LED or Osram metal halide | Available colors | White |
| Flash | Fixed (no flash) |  |  |
| Electrical Characteristics |  |  |  |
| Operation mode | Hard wired | Operation voltage | 220V ac/48V dc |
| Consumption | 70W / metal halide 15W / LED | Multi-lights connection | In parallel |
| Physical Characteristics |  |  |  |
| Body material | Casting aluminum alloy | Lens material | Toughened glass |
| Mounted type | Flat surface mounted | Mounting | 2 x 9mm hubs (diameter) |
| Overall dims (mm) | 290 x 228 x 210mm | Net weight | 4.6kg |
| Operating temperature | -55°c to +55°c | Waterproof rating | IP65 |
| Environmental Factors |  |  |  |
| Humidity | 0 to 98% |  |  |
| Altitude | ＜4,500m |  |  |
| Wind speed | Up to 80m/s |  |  |
| Others |  |  |  |
| ISO pass | ISO9001:2008 |  |  |

- General Layout of Structure & Mounting Details